Assignment #13: Molarity and pH

Procedure: Put on protective goggles and an apron. Record the name and formula of your solution. Is this solution an acid, base, or salt? The solution you have been provided with is a 1 M solution. Pour 25 mL of the solution into the beaker. Test the solution with red and blue litmus paper. Record your results in the table. Measure the pH of the solution (using either the pH paper[1] or the pH meter[2]). Record your results in the table below.
[1] Use of litmus and pH paper: Remove as many strips of pH/litmus paper as you need, then seal the tube again. (Light and air cause litmus and pH paper to degrade). Use a pipette to drop a small amount of solution on the end of one strip of paper. Compare the color to the chart.

Add water to the beaker until you have 250 mL of solution. You now have a 0.1 M solution. Pour out all but 25 mL of the solution. Measure the pH again. Add water to 250 mL. You now have a 0.01M solution. Continue diluting and measuring pH until you have measured the pH of a 0.0001 M solution.

Repeat the above procedure with at least one other chemical. Graph both sets of results on the semi-log graph on the reverse side of this page.
	Name:	Formula	Type?	pH at concentrations of -
				1 M	0.1 M	0.01 M	0.001 M	0.0001 M
Chemical 1:
Chemical 2:
Chemical 3